Instructions on the Use of the Accompanying Software Module for the Estimation of DPOAE Signals

Alireza K. Ziarani

Department of Electrical and Computer Engineering, Clarkson University, Potsdam, NY, USA 13699-5720

E-mail: Alireza K. Ziarani

Telephone: (315) 268-4278

Fax: (315) 268-7600

- Introduction

The accompanying files implement the new technique of estimation of the DPOAE signals presented in [1] that is based on the sinusoid tracking algorithm presented in [2]. The accompanying files run under Matlab® Simulink® version 6.5 or higher. They consist of an initialization Matlab code that defines the workspace variables, a Simulink model that implements the technique of [1], and a sample of a clinically recorded data that is used by the Matlab/Simulink files to illustrate the performance of the technique.

- Instructions

Unzip the “dpoae_estimator.zip” file to create a directory containing the following files:

- The Matlab code “dpoae_initialization.m”,

- The Simulink model “dpoae_estimation.mdl”, and

- The Matlab data file “dpoae_data.mat”.

The initialization file “dpoae_initialization.m” needs to be run first in the Matlab environment to define the workspace variables for the Simulink model “dpoae_estimation.mdl” that may be subsequently run to perform the estimation.

- References

[1] A. K. Ziarani and A. Konrad, “A novel method of estimation of DPOAE signals,” IEEE Transactions on Biomedical Engineering, vol. 51, no. 5, pp. 864-868, 2004.

[2] A. K. Ziarani and A. Konrad, “A method of extraction of nonstationary sinusoids,” Signal Processing, vol. 84, no. 8, pp. 1323-1346, 2004.